## Report
`
This document contains measurments according to the EMVA1288 Standard .
1. EMVA1288 Camera Specification
EMVA1288 SUMMARY SHEET
2. Graph Data

## Linearity Data
Input Data |  |  |  | Output
Exp/ Light Level | Gray Value (uy-Uy.dark) | Temporal STD | Total STD | Index | Gray Value (uy-Uy.dark) | STD | STD CHK | Variance gray | Variance Fit |  | photons | SNR(linear) |  |  |  |  | Linearity Error(%)
[7 empty] | STD CHK |  | GrayValue | Variance slop |  |  |  | SNR Db
|  |  |  | 0 |  |  | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 | 0 |  | Quamtum Eppiciency | 88.4
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | System Gain | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | DSNU1288 | #N/A | e-
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | PRNU1288 | #N/A | %
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | Sy.dark^2 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | Sy.50^2 | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | uy.50 | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | uy.dark | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 항목 | photon | ratio
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | SNR 1 | 0 | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | SNR MAX(Saturation) | 0 | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | theor.limit | 1 | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [6 empty] | 1000000 | 1000
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 항목 | X | Y
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | fit Line | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [6 empty] | #N/A | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | Saturation Line | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [6 empty] | 0 | -1000
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 기울기 | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 오프셋 | #DIV/0!
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 선형성 에러(%) | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | fit | 0 | #DIV/0!
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [6 empty] | 0 | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1

## Linearity Data(Exposure)
Input Data |  |  |  | Output
Exp/ Light Level | Gray Value (uy-Uy.dark) | Temporal STD | Total STD | Index | Gray Value (uy-Uy.dark) | STD | STD CHK | Variance gray | Variance Fit |  | photons | SNR(linear) |  |  |  |  | Linearity Error(%)
[7 empty] | STD CHK |  | GrayValue | Variance slop |  |  |  | SNR Db
0.1 | 1.5 |  |  | 0 |  |  | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 | 0 |  | Quamtum Eppiciency | 88.4
0.2 | 1.8 | [5 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | System Gain | #N/A
0.3 | 2.1 | [5 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
0.4 | 2.4 | [5 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
0.5 | 2.7 | [5 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
0.6 | 3 | [5 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | DSNU1288 | #N/A | e-
0.7 | 3.3 | [5 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | PRNU1288 | #N/A | %
0.8 | 3.6 | [5 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
0.9 | 3.9 | [5 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | Sy.dark^2 | 0
1 | 4.2 | [5 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | Sy.50^2 | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | uy.50 | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | uy.dark | 1.5
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | Dark Current Slope | 3
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0 |  |  | Dark Current | #N/A | DN/s
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | 1 | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 항목 | photon | ratio
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | SNR 1 | 0 | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | SNR MAX(Saturation) | 0 | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | theor.limit | 1 | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [6 empty] | 1000000 | 1000
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 항목 | X | Y
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | fit Line | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [6 empty] | #N/A | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | Saturation Line | 0 | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [6 empty] | 0 | -1000
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 기울기 | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 오프셋 | #DIV/0!
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | 선형성 에러(%) | 0
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [5 empty] | fit | 0 | #DIV/0!
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1 | [6 empty] | 0 | #N/A
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1
[7 empty] | 1 | 0 | #N/A | #N/A |  | 1

## Linearity HG
Input Data |  |  |  | Output | [12 empty] | Output Data
Exp/ Light Level | Gray Value (uy-Uy.dark) | Temporal STD | Total STD | Index | Gray Value (uy-Uy.dark) | STD | STD CHK | Variance gray | Variance Fit |  | photons | SNR(linear) | Linearity Error(%) |  |  |  | Exp/ Light Level | Gray Value (uy-Uy.dark) | Temporal STD | Total STD
[7 empty] | STD CHK |  | GrayValue | Variance slop
2 | 7.27 | 1.31 | 1.75 | 0 | 7.27 | 1.31 |  | 0 | 7.27 | 0 | 18.3901 | 1 | 1.1783 | Quamtum Eppiciency | 88.4 |  | 2 | #N/A | #N/A | #N/A
600 | 13.26 | 1.45 | 1.81 | 1 | 13.26 | 1.45 |  | 0.3864 | 13.26 | 0.3864 | 186.1474 | 4.131 | 0.60086 | System Gain LG | 12.4098 |  | 600 | #N/A | #N/A | #N/A
1200 | 20.41 | 1.64 | 1.95 | 2 | 20.41 | 1.64 |  | 0.9735 | 20.41 | 0.9735 | 286.521 | 8.0122 | 0.5628 | System Gain HG | #N/A |  | 1200 | #N/A | #N/A | #N/A
1800 | 27.38 | 1.81 | 2.14 | 3 | 27.38 | 1.81 |  | 1.56 | 27.38 | 1.56 | 384.3677 | 11.1105 | 0.44104 | LG HG Ratio | #N/A |  | 1800 | #N/A | #N/A | #N/A
2400 | 34.06 | 2.07 | 2.35 | 4 | 34.06 | 2.07 |  | 2.5688 | 34.06 | 2.5688 | 478.1433 | 12.942 | 0.18443 |  |  |  | 2400 | #N/A | #N/A | #N/A
3000 | 41.44 | 2.16 | 2.43 | 5 | 41.44 | 2.16 |  | 2.9495 | 41.44 | 2.9495 | 581.7457 | 15.8194 | 0.25333 | DSNU1288 | 14.3997 | e- | 3000 | #N/A | #N/A | #N/A
3600 | 48.68 | 2.31 | 2.61 | 6 | 48.68 | 2.31 |  | 3.62 | 48.68 | 3.62 | 683.3827 | 17.9264 | 0.25712 | PRNU1288 | 1.1921 | % | 3600 | #N/A | #N/A | #N/A
4200 | 55.44 | 2.41 | 2.74 | 7 | 55.44 | 2.41 |  | 4.092 | 55.44 | 4.092 | 778.2814 | 19.9876 | 0.037708 |  |  |  | 4200 | #N/A | #N/A | #N/A
4800 | 62.46 | 2.52 | 2.83 | 8 | 62.46 | 2.52 |  | 4.6343 | 62.46 | 4.6343 | 876.83 | 21.9008 | -0.0608 | Sy.dark^2 | 1.3464 |  | 4800 | #N/A | #N/A | #N/A
5400 | 69.19 | 2.66 | 3.02 | 9 | 69.19 | 2.66 |  | 5.3595 | 69.19 | 5.3595 | 971.3075 | 23.2782 | -0.29416 | Sy.50^2 | 3.86 |  | 5400 | #N/A | #N/A | #N/A
6000 | 76.53 | 2.71 | 3.09 | 10 | 76.53 | 2.71 |  | 5.628 | 76.53 | 5.628 | 1074.3484 | 25.5572 | -0.24387 | uy.50 | 140.26 |  | 6000 | #N/A | #N/A | #N/A
6600 | 83.81 | 2.82 | 3.2 | 11 | 83.81 | 2.82 |  | 6.2363 | 83.81 | 6.2363 | 1176.547 | 27.1418 | -0.22147 | uy.dark | 7.27 |  | 6600 | #N/A | #N/A | #N/A
7200 | 91 | 2.94 | 3.34 | 12 | 91 | 2.94 |  | 6.9275 | 91 | 6.9275 | 1277.4821 | 28.4796 | -0.24093 |  |  |  | 7200 | #N/A | #N/A | #N/A
7800 | 98 | 3.07 | 3.49 | 13 | 98 | 3.07 |  | 7.7088 | 98 | 7.7088 | 1375.75 | 29.5537 | -0.34873 |  |  |  | 7800 | #N/A | #N/A | #N/A
8400 | 105.17 | 3.16 | 3.57 | 14 | 105.17 | 3.16 |  | 8.2695 | 105.17 | 8.2695 | 1476.4043 | 30.981 | -0.37749 |  |  |  | 8400 | #N/A | #N/A | #N/A
9000 | 112.1 | 3.21 | 3.67 | 15 | 112.1 | 3.21 |  | 8.588 | 112.1 | 8.588 | 1573.6895 | 32.6573 | -0.51785 |  |  |  | 9000 | #N/A | #N/A | #N/A
9600 | 119 | 3.29 | 3.78 | 16 | 119 | 3.29 |  | 9.108 | 119 | 9.108 | 1670.5535 | 33.9605 | -0.67216 |  |  |  | 9600 | #N/A | #N/A | #N/A
10200 | 126.46 | 3.34 | 3.87 | 17 | 126.46 | 3.34 |  | 9.4395 | 126.46 | 9.4395 | 1775.279 | 35.6856 | -0.56606 |  |  |  | 10200 | #N/A | #N/A | #N/A
10800 | 133.39 | 3.44 | 3.98 | 18 | 133.39 | 3.44 |  | 10.1175 | 133.39 | 10.1175 | 1872.5641 | 36.6628 | -0.70642 |  |  |  | 10800 | #N/A | #N/A | #N/A
11400 | 140.26 | 3.61 | 4.11 | 19 | 140.26 | 3.61 |  | 11.316 | 140.26 | 11.316 | 1969.007 | 36.8393 | -0.87468 | 항목 | photon | ratio | 11400 | #N/A | #N/A | #N/A
12000 | 148.22 | 3.6 | 4.2 | 20 | 148.22 | 3.6 |  | 11.2439 | 148.22 | 11.2439 | 2080.7516 | 39.1528 | -0.53607 | SNR 1 | 18.3901 | 1 | 12000 | #N/A | #N/A | #N/A
12600 | 155.03 | 3.67 | 4.28 | 21 | 155.03 | 3.67 |  | 11.7528 | 155.03 | 11.7528 | 2176.3522 | 40.2616 | -0.73224 | SNR MAX(Saturation) | 3354.303 | 52.7722 | 12600 | #N/A | #N/A | #N/A
13200 | 162.57 | 3.73 | 4.4 | 22 | 162.57 | 3.73 |  | 12.1968 |  |  | 2282.2007 | 41.6354 | -0.58894 | theor.limit | 1 | 1 | 13200 | #N/A | #N/A | #N/A
13800 | 170.29 | 3.85 | 4.54 | 23 | 170.29 | 3.85 |  | 13.1064 |  |  | 2390.5761 | 42.3429 | -0.36193 |  | 1000000 | 1000 | 13800 | #N/A | #N/A | #N/A
14400 | 177.92 | 3.87 | 4.63 | 24 | 177.92 | 3.87 |  | 13.2608 |  |  | 2497.6881 | 44.0956 | -0.17678 |  |  |  | 14400 | #N/A | #N/A | #N/A
15000 | 184.76 | 3.93 | 4.73 | 25 | 184.76 | 3.93 |  | 13.7288 |  |  | 2593.7098 | 45.1628 | -0.35899 |  |  |  | 15000 | #N/A | #N/A | #N/A
15600 | 192.96 | 4.01 | 4.82 | 26 | 192.96 | 4.01 |  | 14.364 |  |  | 2708.8236 | 46.3067 | 0.091219 |  |  |  | 15600 | #N/A | #N/A | #N/A
16200 | 200.82 | 4.15 | 4.97 | 27 | 200.82 | 4.15 |  | 15.5064 |  |  | 2819.1643 | 46.6386 | 0.38332 |  |  |  | 16200 | #N/A | #N/A | #N/A
16800 | 208.06 | 4.17 | 5.03 | 28 | 208.06 | 4.17 |  | 15.6728 |  |  | 2920.8014 | 48.1511 | 0.38712 |  |  |  | 16800 | #N/A | #N/A | #N/A
17400 | 215.36 | 4.18 | 5.15 | 29 | 215.36 | 4.18 |  | 15.7563 |  |  | 3023.2807 | 49.7823 | 0.41882 |  |  |  | 17400 | #N/A | #N/A | #N/A
18000 | 223.1 | 4.27 | 5.23 | 30 | 223.1 | 4.27 |  | 16.5168 |  |  | 3131.9369 | 50.5457 | 0.65512 |  |  |  | 18000 | #N/A | #N/A | #N/A
18600 | 231.36 | 4.34 | 5.34 | 31 | 231.36 | 4.34 |  | 17.1195 |  |  | 3247.8929 | 51.6336 | 1.1332 |  |  |  | 18600 | #N/A | #N/A | #N/A
19200 | 238.94 | 4.39 | 5.45 | 32 | 238.94 | 4.39 | 1 | 17.556 |  |  | 3354.303 | 52.7722 | 1.2951 |  |  |  | 19200 | #N/A | #N/A | #N/A
19800 | 247.73 | 4.26 | 5.24 |  |  |  |  | 16.4315 |  |  | 3354.303 | 52.7722 |  | 항목 | X | Y | 19800 | #N/A | #N/A | #N/A
20400 | 253.04 | 2.67 | 3.28 |  |  |  |  | 5.4128 |  |  | 3354.303 | 52.7722 |  | fit Line | 0 | 0 | 20400 | #N/A | #N/A | #N/A
21000 | 254.76 | 1.05 | 1.11 |  |  |  |  | -0.6136 |  |  | 3354.303 | 52.7722 |  |  | 162.57 | 13.1001 | 21000 | #N/A | #N/A | #N/A
21600 | 254.99 | 0.16 | 0.17 |  |  |  |  | -1.6905 |  |  | 3354.303 | 52.7722 |  | Saturation Line | 238.94 | 19.2721 | 21600 | #N/A | #N/A | #N/A
22200 | 255 | 0.02 | 0.01 |  |  |  |  | -1.7157 |  |  | 3354.303 | 52.7722 |  |  | 238.94 | -1000 | 22200 | #N/A | #N/A | #N/A
22800 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 22800 | #N/A | #N/A | #N/A
23400 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 23400 | #N/A | #N/A | #N/A
24000 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 24000 | #N/A | #N/A | #N/A
24600 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 24600 | #N/A | #N/A | #N/A
25200 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 25200 | #N/A | #N/A | #N/A
25800 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 25800 | #N/A | #N/A | #N/A
26400 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 26400 | #N/A | #N/A | #N/A
27000 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 27000 | #N/A | #N/A | #N/A
27600 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 27600 | #N/A | #N/A | #N/A
28200 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 28200 | #N/A | #N/A | #N/A
28800 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 28800 | #N/A | #N/A | #N/A
29400 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 29400 | #N/A | #N/A | #N/A
30000 | 255 | 0 | 0 |  |  |  |  | -1.7161 |  |  | 3354.303 | 52.7722 |  |  |  |  | 30000 | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 |  | 기울기 | 7.2318 |  |  | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 |  | 오프셋 | 4.736 |  |  | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 |  | 선형성 에러(%) | 1.0849 |  |  | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 |  | fit | 0 | 4.736 |  | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 |  |  | 3354.303 | 231.4188 |  | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A
[8 empty] | -1.7161 |  |  | 3354.303 | 52.7722 | [5 empty] | #N/A | #N/A | #N/A

## Spectrogram
spectorogram
cycles | H-DSNU | H-PRNU | cycles | V-PRNU | V-DSNU
0 | 1 | 1 | 0 | 1 | 1
0.01 | 1 | 1 | 0.01 | 1 | 1 |  | X | Y
0.02 | 1 | 1 | 0.02 | 1 | 1 | fit | 0 | 1
0.03 | 1 | 1 | 0.03 | 1 | 1 |  | 0.5 | 1
0.04 | 1 | 1 | 0.04 | 1 | 1
0.05 | 1 | 1 | 0.05 | 1 | 1
0.06 | 1 | 1 | 0.06 | 1 | 1
0.07 | 1 | 1 | 0.07 | 1 | 1
0.08 | 1 | 1 | 0.08 | 1 | 1
0.09 | 1 | 1 | 0.09 | 1 | 1
0.1 | 1 | 1 | 0.1 | 1 | 1
0.11 | 1 | 1 | 0.11 | 1 | 1
0.12 | 1 | 1 | 0.12 | 1 | 1
0.13 | 1 | 1 | 0.13 | 1 | 1
0.14 | 1 | 1 | 0.14 | 1 | 1
0.15 | 1 | 1 | 0.15 | 1 | 1
0.16 | 1 | 1 | 0.16 | 1 | 1
0.17 | 1 | 1 | 0.17 | 1 | 1
0.18 | 1 | 1 | 0.18 | 1 | 1
0.19 | 1 | 1 | 0.19 | 1 | 1
0.2 | 1 | 1 | 0.2 | 1 | 1
0.21 | 1 | 1 | 0.21 | 1 | 1
0.22 | 1 | 1 | 0.22 | 1 | 1
0.23 | 1 | 1 | 0.23 | 1 | 1
0.24 | 1 | 1 | 0.24 | 1 | 1
0.25 | 1 | 1 | 0.25 | 1 | 1
0.26 | 1 | 1 | 0.26 | 1 | 1
0.27 | 1 | 1 | 0.27 | 1 | 1
0.28 | 1 | 1 | 0.28 | 1 | 1
0.29 | 1 | 1 | 0.29 | 1 | 1
0.3 | 1 | 1 | 0.3 | 1 | 1
0.31 | 1 | 1 | 0.31 | 1 | 1
0.32 | 1 | 1 | 0.32 | 1 | 1 |  | X | Y
0.33 | 1 | 1 | 0.33 | 1 | 1 | fit | 0 | 1
0.34 | 1 | 1 | 0.34 | 1 | 1 |  | 0.5 | 1
0.35 | 1 | 1 | 0.35 | 1 | 1
0.36 | 1 | 1 | 0.36 | 1 | 1
0.37 | 1 | 1 | 0.37 | 1 | 1
0.38 | 1 | 1 | 0.38 | 1 | 1
0.39 | 1 | 1 | 0.39 | 1 | 1
0.4 | 1 | 1 | 0.4 | 1 | 1
0.41 | 1 | 1 | 0.41 | 1 | 1
0.42 | 1 | 1 | 0.42 | 1 | 1
0.43 | 1 | 1 | 0.43 | 1 | 1
0.44 | 1 | 1 | 0.44 | 1 | 1
0.45 | 1 | 1 | 0.45 | 1 | 1
0.46 | 1 | 1 | 0.46 | 1 | 1
0.47 | 1 | 1 | 0.47 | 1 | 1
0.48 | 1 | 1 | 0.48 | 1 | 1
0.49 | 1 | 1 | 0.49 | 1 | 1
0.5 | 1 | 1 | 0.5 | 1 | 1
[7 empty] | X | Y
[6 empty] | fit | 0 | 1
[7 empty] | 0.5 | 1
[7 empty] | X | Y
[6 empty] | fit | 0 | 1
[7 empty] | 0.5 | 1

## Data
VP-151MX-M6
Item | Symbol | Value | Unit
Quantum efficiency | η | 88.4 | %
Overall System Gain | K | #N/A | e-/DN
Dark Noise | σd | #N/A | e-
| σy.dark | 0 | DN
DSNU1288 | Sd | #N/A | e-
| Sy.dark | #N/A | DN
SNR Max | SNR | 1 | Ratio
| SNR dB | 0 | dB
| SNR bit | 0 | bit
PRNU1288 | Sg | #N/A | %
Non-Whiteness factor F(dark) | F | -
Non-Whiteness factor F(50%) | F | -
Non-Lineartity Error(0-100%) | LE | 0 | %
Absolute sensitivity threshold | μp.min | 0 | e-
Saturation Capacity | μy.sat | #N/A | DN
| μe.sat | 0 | e-
Dynamic Range | DR | #N/A | Ratio
| DR dB | #N/A | dB
| DR bit | #N/A | bit

## Information
VP-151MX-M6
Item | Description | Unit
EMVA 1288 Version | 3.1
Type of data Presented | Single
Vender | Vieworks
Model | VP-151MX
Tap Geomerty | 1 TAP
Sensor | SONY 151MP
Sensor Type | CMOS
Sensor diagonal | 66.6934 | mm
Lens category | 3.7052 | inch
Resolution X | 14192
Resolution Y | 10640
Pixel size | 3.76 | um
Readout Type | Progressive Scan
Transfer Type | Rolling
Maximum Readout Rate | 6.2 | fps
Interface Type | CXP

## Operation point
VP-151MX-M6
Item | Description | Unit
Video Output format | 14bit | bit
Gain value | 0 | unit
Offset value | 5 | unit
Exposure time | 10 | ms
Measure Time | 2025-08-14 13:38 | Date
MEASUREMENT SETUP
Item | Description | Unit
Light wavelength Mono Color NIR | 525 465/525/625 850 | nm nm nm
Wavelength Variation | 50 nm
Distance Sensor to Light source | 112 | mm
Diameter of the light souce | 14 | mm
f-Number | 8 | f#